PAGE  
TotalSync – Wireless Time, Bell, Voice & Data System Specifications


Visiplex, Inc.

                      

100 N. Fairview Dr., Suite 120

Vernon Hills, IL  60061

877-918-7243

www.visiplex.com


Product Guide Specification (06/2010)
	This product specification is written according to the Construction Specifications Institute (CSI), MasterFormatTM, SectionFormat, and PageFormat, contained in the CSI Manual of Practice.


WIRELESS TIME, BELL, VOICE and DATA SYSTEM

Part 1 - General

	Specifier Note: Edit the following list as required for the project.


1.1  Sections Includes

A. Transmission System

1. Primary Encoder.
2. Primary Internal Transmitter or Primary External Transmitter.
B. Wireless Synchronized Devices 

1. Wirelessly Controlled Analog Clock.
2. Wirelessly Controlled Digital Clock.
3. Wirelessly Controlled Bell Controller.
4. Wirelessly Controlled Public Address Speaker.
5. Wirelessly Controlled Alphanumeric LED Display.
6. Intercom Station.
	Specifier Note: Edit the following list as required for the project. List other sections with work directly related to this section.


1.2  Related Sections

A. Division 16 - Electrical 120V 60Hz grounded outlet required for encoder.

B. Division 16 - Electrical 120V 60Hz grounded outlet required for external transmitter.
C. Division 16 – Electrical 120V 60Hz grounded outlet for each AC powered clock, bell controller, alphanumeric LED display and Public Address amplifier. 

	Specifier Note: List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards and is merely a list of those used.


1.3 References

A. This Technical Specification and Associated Drawings.
B. National Fire Protection Agency (NFPA) 70, National Electric Code 2002.
C. Visiplex, Inc. TotalSync Synchronized Wireless Time System User Manual.

1.4 Definitions

A. Atomic time: The most accurate and reliable time as can be obtained from sources such as Internet time server, PC network time protocol (NTP), GPS receiver or WWVB.

B. WWVB: Special NIST time signal radio station (Fort Collins, Colorado) that continuously broadcasts nationwide atomic time information at 60 KHz. 
1.5 System Description

A. Synchronized wireless time, voice and data system shall be able to synchronize all clocks & bells, provide Public Address voice announcements capabilities and control LED displays to display time and text messages.

B. The system shall synchronize all clocks to the system’s time. The system shall provide atomic time to all its components. The system shall not require any hard wiring (except of AC power) for all its components.
C. The system shall include an internal high precision real time clock reference in order to keep the accurate time without any external time corrections for a long period of time.

D. Clocks shall automatically adjust for Daylight Savings Time and shall be capable of multiple time zones readouts where needed.

E. Analog clocks may be battery operated for complete portability or AC powered for years of maintenance free operation.
F. Digital LED clocks shall be AC powered for years of maintenance free operation.

G. The system shall incorporate a “fail-proof” design so that a temporary power interruption shall not cause a complete system failure. Upon restoration of power, the system shall resume normal operation without the need to reset the system or any of its components.

H. The system shall provide a PC interface to enable system remote programming and maintenance.
I. The system shall be capable of text messaging to a specific or group of Alphanumeric LED Display units. Messages can be initiated from a PC or over the phone.

J. The system shall be capable of providing a built-in programmable bell/tone weekly schedule to activate bells and other tone signaling.
K. The system shall be capable of providing a voice gateway to activate wireless Public Address amplifiers and speakers. Voice messages can be initiated in real time over the phone, using a hand held microphone or automatically according to a preprogrammed event schedule.

L. The system shall be capable of providing a two-way voice communications gateway, to initiate an intercom voice communications with multiple wireless intercom stations.
M. The system shall be capable of providing an internal phone interface to initiate voice and data messaging and control event schedule selection.

1.6 Regulatory Requirements

A.
Equipment and components furnished shall be of manufacturer’s latest model.

B.
Encoder, transmitter and receivers shall comply with Part 90 of FCC rules, as follows:

1. This device may not cause harmful interference.
2. This device must accept interference received, including interference that may cause undesired operation.
3. Transmitter frequency shall be governed by FCC Part 90.35.
4. Transmitter output power shall be governed by FCC Parts 90 and 74.

C.
System shall be installed in compliance with local and state authorities having jurisdiction.

1.7  Submittals

	Specifier Note:  In accordance with FCC regulations, an application for license must be filed prior to use of the equipment.  Normally, the manufacturer will complete the filing and obtain the license on the behalf of the Owner. 

Otherwise, the Owner will be required to file the application with the FCC prior to use.  Furnishing the license, or a copy of the application, will confirm that FCC approval has been obtained.


A. Product Data: Submit complete catalog data for each component, describing physical characteristics and method of installation. Submit brochure showing available colors and finishes of clocks, LED displays and wireless PA amplifiers and speakers.
B.
Operating License: Submit evidence of application for operating license prior to installing equipment.  Furnish the license, or if the license has not been received, a copy of the application for the license, to the Owner prior to operating the equipment. When license is received, deliver original license to Owner.

C.
Samples: Submit one clock for approval. Approved sample shall be tagged and shall be installed at the location directed.  

D.
Manufacturer's Instructions: Submit complete installation, set-up and maintenance instructions.  

1.7 Substitutions

A.
Proposed substitutions shall be manufactured of equivalent materials that meet or exceed specified requirements of this section.

B.
Proposed substitutions shall be identified not less than 10 days prior to bid date. 

C.
Systems requiring wiring and/or conduit between the system and clocks, LCD displays or PA amplifiers and speaker will not be acceptable.

1.8 Quality Assurance

A. Permits: Obtain operating license for the transmitter from the FCC (service may be provided by Visiplex).


B.  Qualifications:

1.
Manufacturer: Company specializing in manufacturing commercial wireless systems with a documented experience of minimum of 10 years.
2.
Installer: Company with documented experience in installation of commercial wireless systems. 

1.9 Delivery Storage and Handling

A.
Deliver all components to the site in the manufacturer's original packaging. Packaging shall contain manufacturer's name and address, product identification number, and other related information.

B.
Store equipment in finished building, unopened containers until ready for installation.

1.10 Project Site Conditions

A.
Clocks, LED displays and PA amplifiers and speakers shall not be installed until painting and other finish work in each room is completed.

B. Coordinate installation of the external antenna (if used) for access to the roof or exterior side-wall so that the bracket and related fasteners are watertight.

Part 2 – Products

	Specifier Note: Select from the following product list all products and options that fits your system design. Consult Visiplex for additional information regarding product features and options.


2.1 Manufacturer

A.
The Synchronized wireless time, voice and data system and its components shall be manufactured by:

Visiplex, Inc.
Vernon Hills, IL 60061
Tel: 877-918-7243
Website: www.visiplex.com
2.2 System Operation and Startup Sequence

The system encoder is a powerful multitasking device equipped with internal high precision clock and capable of sending accurate time information to synchronize the system’s wireless clocks, synchronize and activate bell system events, initiate live or pre-recorded voice messaging to wireless Public Address amplifiers and speakers and send text messages to alphanumeric LED displays. Voice and data messaging can be generated from an interfaced computer, over the phone using the system telephone interface, using the hand held microphone or the encoder’s keypad. 

A.
Encoder Operation:  

When power is applied to the encoder, it shall display the software version. The encoder starts to transmit its internal atomic time once every minute (during Installation Mode) or during the designated daily time period (usually 10PM to 4AM).

The encoder updates its internal clock (if needed) from a PC clock connected to it (based on NTP or Internet time server).

Programming the encoder built-in schedule is performed using the available PC software. The encoder monitors and executes the tone, voice or bell activation schedule.

B.
Analog Clock Operation:  

· For battery powered clocks, insert batteries into the clock. For AC powered clocks, connect the DC adaptor to the AC power source and the DC plug to the clock DC jack.

· The clock will go through the hand synchronization process for approximately one minute and will stop at 12:00. Push the Control button at the back of the clock.

· After few seconds, the clock receiver will search for valid time transmission. The monitoring LED at the back of the clock will flash during that period of time. After a valid time data is received the monitoring LED will stop flashing, and the clock will adjust to the correct time. The clock will search for valid time signals for one or six per each day, and will resynchronize to the correct time.

C.
Digital Clock Operation:  

· Connect the AC power cord (supplied with each digital clock) to the AC power source. There is no need for any adjustment.

· After few seconds, the clock receiver will search for valid time transmission. The monitoring LED at the front of the clock will turn on when a valid time signal is received. After a valid time data is received, the clock will adjust to the correct time.  The clock will constantly receive a valid time signal and resynchronize to the correct time if needed.

D.  Wireless Alphanumeric Data Display Operation:  

· Connect the DC adaptor (supplied with each display) to the AC power source. 
· After few seconds, the alphanumeric display will scroll an activity status line on the display, to indicate that all internal parts are working properly. After few more seconds the display will be cleared until it receives new information to be displayed transmitted from the main encoder. If the display is set to display the time, the internal receiver will search for valid time data transmission and resynchronize to the correct time if needed.
E. Wireless Public Address Speaker Operation:

· Connect the DC adaptor (supplied with each wireless amplifier) to AC power source.

· After few seconds of initial setup, the wireless amplifier LED will start flashing to indicate that all the internal circuitry is fully functioning.

· Connect a speaker to the wireless amplifier speaker output port using the supplied cable. The speaker is now ready to receive voice and data information from the main encoder. 

F. Wireless Bell Controller Operation:

· Connect the DC adaptor (supplied with each controller) to the AC power source. There is no need for any additional adjustment.

· After a second of initial setup, the LED lights on the back of the unit will flash to indicate that all internal parts are working properly, and the internal receiver will start looking for valid bell/tone event transmissions. When a valid event is received from the main encoder, the controller will close its internal relay contacts and generate the selected tone through its audio output. 

2.3 Equipment

	Specifier Note: Select the encoder with features as needed. Select suitable transmitter to provide full coverage facility wide. In general, use an internal transmitter for single building and an external more powerful transmitter for larger facilities.


A. General:
The basic clock system shall include an encoder, a built-in or external transmitter and analog or digital clocks. An expanded system may also include wireless alphanumeric LED displays, wireless Public Address amplifiers and speakers, bell controllers and all accessories and options as needed for a complete operation.  

B. Encoder:

Visiplex model VS4200 shall incorporate a display and a keypad to provide the following features:

1. Time zone selection via the keypad and display for all time zones in the world.  Includes all US time zones:  Eastern, Central, Mountain, Pacific, Alaska and Hawaii.
2. Automatic Daylight Saving Time adjustment can be enabled or disabled from keypad.
3. Password protected Administrator Menu to set the date, local time zone, wireless PA amplifiers and speakers (if used), and other system parameters as needed.
4. The encoder internal clock shall be synchronized to a PC time using provided utility software.

5. Database programming and administration using its keypad and LCD display.
6. PC RS-232 interface for text messaging and administration.
7. High-precision internal clock.
8. The encoder shall be capable of providing a Telephone interface for remote voice access and system control.
9. The encoder shall be capable of providing a hand held microphone for remote voice access to PA amplifiers and speakers.
10. The encoder internal clock shall be capable of synchronizing to a GPS receiver.
11. The encoder shall be capable of providing a programmable weekly event schedule.
C. Transmitter:
Visiplex model VTX-6 or VS101-xxx series transmitter with up to 300 watts. The transmitter parameters shall be:

1. Frequency Range: 148-174 MHz or 401–470 MHz.
2. Transmitter output power: Internal 6 watt (built into the encoder) or External 25-300 watt in black metal case (14.125” by 11.625” by 3.375”).
3. Transmission Range: Up to 15 miles radius (transmitter and antenna depended).
4. Radio technology: Narrowband FM, 12.5KHz bandwidth.
5. Transmission format: POCSAG, digital one-way communication.
6. Digital Data rate: 512 BPS.
7. Operating range: 0-70 degrees Celsius.
D. Antenna:

Visiplex model VS638 (indoor), or model VS654 (outdoor) or model VS655 (outdoor). Antenna polarization shall be vertical.

E. Power Supply:

Included with encoder.

F. Surge Protector/Battery Backup:
Visiplex model VS56450.

Input:  120-volt AC 60 Hz +/- 1 Hz.

Output: 120-volt AC, 750VA, 450-watts

Surge Energy Rating: 365 joules

G. Analog Clocks:
Visiplex analog clocks, 12.5” face size, 14” outside diameter, model TS4142. Additional colors and finishes are available from manufacturer. Analog clocks shall be wall mounted. Clocks shall have polycarbonate or wood frame and polycarbonate or glass lens. Face shall be white.  Hour, minute and second hands shall be black. Other clock features shall be:

	Specifier Note: For other models with other dial face style, color and case style select from Visiplex brochure or website.


1.
Analog clocks with no user mechanical adjustments, and fully automatic adjustment in 5 minutes after a power resumes.   
2.
Time shall be automatically updated from the transmitter once a day at 2 am or six times a day (user selectable).
3.
Use two “C” batteries or AC power adaptor.
4.  The clock shall a have an ultra sensitive VHF or UHF receiver (better than -110dBm) and integrated internal antenna.
5.
The clock will keep operating using its internal clock in case of signal reception loss due to malfunction of the system encoder or transmitter.

	Specifier Note: Analog clock faces can be customized with Owner's logo as an option.  If desired, arrange for Owner to provide digital copy of logo in format as required by Visiplex. Consult Visiplex for details.


6. Analog clock faces shall bear Visiplex or Owner's logo as indicated.

	Specifier Note: Where protection of analog clocks is required, specify the following optional equipment.


7.  Wire guards:  Provide one for each analog clock as follows:

a. Visiplex model TS-ACC-023, 16” by 16” size, for nominal 14” diameter analog clocks.
b. Visiplex model TS-ACC-024, 18” by 18” size, for nominal 16” diameter analog clocks.  

H. Digital Clocks: 
Visiplex model TS5441, 4” high, 7-segment LED display. Clocks shall have metal frame and polycarbonate lens.  LED digits shall be red.  Overall dimensions:  15.25” long by 8.375” wide by 1.5” deep.
	Specifier Note: For other models with other digit style, color and case styles select from Visiplex brochure or website.


1. Digital clocks shall be able to receive synchronized time signal from the VS4200 TotalSync encoder.
2. Power source: 100-240 VAC, 50-60 Hz.
3. Digital clocks shall have at least two levels of brightness. Clocks shall be viewable from 150 feet.

I. Wireless PA Amplifiers and Speakers:
Visiplex model VNS2200 or VNS2020, Indoor/Outdoor Wireless Public Address Amplifier. Overall dimensions: 7.5” long by 5.1” wide by 2.7” deep.

The wireless amplifier shall be connected to 4-16 Ohm 50 watts speaker Visiplex model VNS2082. The speaker shall have a polycarbonate enclosure.  Overall dimensions: 9.8” long by 7.2” wide by 6.5” deep.

	Specifier Note: For other models with other amplifier and speaker power, indoor/outdoor, color  and case style select from Visiplex brochure or website.


1. Wireless PA speaker shall be able to receive voice messages, alert tone activation, programming commands and be controlled from the VS4200 encoder.
2. Power source: 100-240 VAC, 50-60 Hz.
3. The PA speaker shall have four levels of volume control selectable and controlled by the system encoder.

J. Alphanumeric Data Displays:
Visiplex model VS1503, 2-line Wireless Alphanumeric Data display. The display shall have metal or polycarbonate enclosure and polycarbonate lens. Text LED color shall be red. Overall dimensions: 26.52” long by 6.75” by 2.5” deep.

	Specifier Note: For other models with other digit style, colors, and case styles select from Visiplex brochure or website.


1. Wireless Alphanumeric Display shall be able to receive time and data information from the VS4200 control center.
2. Power source: 100-240 VAC, 50-60 Hz.
3. Alphanumeric display shall be viewable from 100 feet or more.

K. Wireless Bell Controller:
Visiplex model TS-ADA-029, wireless Bell/Tone controller, with integrated dry-contact relay. Overall dimensions: 3.85” long by 2.85” wide by 1.3” deep.

1. Wireless bell controller shall be able to receive wireless event information from the VS4200 encoder, activate an internal dry contact relay and generate a tone according received event parameters.
2. Power source: 100-240 VAC, 50-60 Hz.

Part 3 – Installation

3.1 Site examination:

A. Verify that construction is complete at installation locations and that rooms are clean and dry.

B. Verify that 120-volt electrical outlet is located within 6 feet of location of transmitter and the outlet is operational and properly grounded.

C. Verify that all 120-volt electrical outlets for the powered clocks, alphanumeric displays, and PA amplifiers and speakers are located at the exact installation point and that the outlet is operational and properly grounded.
3.2 System Installation: Refer to the manufacturer installation manuals as supplied with the system and install each one of the system components.

3.3  Inspection: Prior to final acceptance, inspect each system component for proper function and replace parts that are found to be defective.

3.4 Cleaning: Prior to final acceptance, clean exposed surfaces of all system components, using cleaning methods recommended by the manufacturer. Remove temporary protective film from clock faces and display lenses.
3.5 Delivery: Provide training to Owner's representative on system setting and operation as demonstrated in the manufacturer system user manual.
PAGE  
1
Copyright © 2010 Visiplex, Inc. - All Rights Reserved


